Market Code Schedule 16

Code Subsidiary Document No. 0203

Meter Read Submission: Validation

Version:  1.2

Date: 08/03/2009

Document Ref: CSD0203

###### Change History

| Version Number | Date of Issue | Reason For Change | Change Control Reference | Sections Affected |
| --- | --- | --- | --- | --- |
| 1.0 | 14/05/2007 |  |  |  |
| 1.1 | 31/08/2007 |  |  |  |
| 1.2 | 08/03/2009 | Enhanced usage threshold validation | MCCP020 | 2.2 2.21 2.2.4 2.3 |

###### Table of Contents

1.	Purpose and Scope	3

2.	Meter Read Submission Validation Description	4

2.1	Registration and Content Validation	4

2.1.1	Treatment of duplicate date Meter Reads	4

2.1.2	Process Diagrams	6

2.1.3	Interface and Timetable Requirements	8

2.2	Volume Validation	10

2.2.1	Threshold Validation	10

2.2.2	Capacity Limit Validation	11

2.2.3	Process Diagrams	12

2.2.4	Interface and Timetable Requirements	13

2.3	Validation Failure - Error Transactions	14

Appendix 1 – Validation Failure Types	15

Appendix 2 – Process Diagram Symbols	17

# Purpose and Scope

This document sets out the validation process performed by the CMA on receipt of Meter Reads, to ensure that the Meter Reads are fit for use in the Settlement Process.  Where a Meter Read does not meet these validation requirements, the CMA will notify the Licensed Provider or Scottish Water as appropriate that further investigation is required.

# Meter Read Submission Validation Description

This process will be run by the CMA on the receipt of Meter Read Submissions in the form of Data Transactions T005.0, T005.1 and T017.0 in accordance with CSD 0202 (Meter Read Submission: Process).  All Meter Reads submitted must contain the Data Items set out against the relevant Data Transaction in the Data Transaction Catalogue.

Meter Read Types are set out in CSD 0202.

Under Section 5.10 of the Market Code, validation requires to be carried out in respect of:

- registration and content validation;

- treatment of duplicate data;

- Volume validation.

## Registration and Content Validation

The purpose of this validation is to ensure that the combination of Licensed Provider, SPID and Meter ID is a valid Registration combination. If the provider of the Meter Read is Scottish Water, then only the SPID and Meter ID combination needs to be validated against SPID Data.

The validation also checks that the Data Transaction content is valid (e.g. the Meter Read value is not unpopulated) and that the Meter Read date is not a date which is later than the date of submission of the Meter Read or earlier than the date of a previous Meter Read.

### Treatment of duplicate date Meter Reads

If more than one Meter Read is provided for any single read date for the same Meter ID, the CMA will check the later Meter Read Submission for duplication of data with the previously validated Meter Read Submission. Any difference will be reported on Data Transaction T009.0 or T009.1 (Error Notification) by the CMA for the later Meter Read Submission and the earlier Meter Read will be used in the Settlement process. Where a Licensed Provider or Scottish Water wishes to replace the earlier Meter Read, it should follow CSD0105 (Error Rectification & Retrospective Amendments).

Error Notification is provided as set out in the table below.

| Meter ID | Read Date | Read Type | Read Value | Outcome |
| --- | --- | --- | --- | --- |
| Both Meter IDs identical | Both Read Dates Identical | Both Read Types Identical | Both Read Values Identical | Ignore the second read as it is identical |
| Both Meter IDs identical | Both Read Dates Identical | Both Read Types Identical | Read Values Differ | Error notification sent with Error Code = BF |
| Both Meter IDs identical | Both Read Dates Identical | Read Types differ | Both Read Values Identical | Error notification sent with Error Code = BF |
| Both Meter IDs identical | Both Read Dates Identical | Read Types differ | Read Values Differ | Error notification sent with Error Code = BF |

### Process Diagrams

### Interface and Timetable Requirements

| Step Ref: | When | Action/Decision | From | To | Data Transaction |
| --- | --- | --- | --- | --- | --- |
| 1.1 | Ad hoc | Receive Meter Read Submission | CMA | LP/SW | Meter Read Submission (T005.0, T005.1) |
| 1.2 |  | Does the submitter of the Meter Read have a recognised Organisation ID (Org ID)? | CMA |  |  |
| 1.2.1 |  | If the submitter of the Meter Read is not a known Org ID, send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.3 |  | Is the SPID an existing SPID? | CMA |  |  |
| 1.3.1 |  | If the SPID is not a known SPID send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.4 |  | Is the Meter ID an existing Meter ID? | CMA |  |  |
| 1.4.1 | Daily | If the Meter ID is not a known Meter ID send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.5 |  | If a validated Meter Read has been submitted for this Meter ID with the same Meter Read Date go to 1.5.1 otherwise go to 1.6 | CMA |  |  |
| 1.5.1 |  | Do the Meter Reads for the previous and current Meter Read exactly match, if so the process ends, otherwise go to 1.5.2 | CMA |  |  |
| 1.5.2 |  | If all the Meter Read Data Item values do not match send error Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.6 |  | If the Meter Read Provider is Scottish Water go to 1.10 | CMA |  |  |
| 1.6.1 |  | Is the SPID registered to the Meter Read providing Market Participant, or corresponding SS SPID if RWSM if so go to 1.7 otherwise go to 1.6.2 | CMA |  |  |
| 1.6.2 |  | If the SPID is not registered to the Org ID of the Meter Read Provider send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.7 |  | Is the Meter ID associated with the SPID, if so go to 1.8, otherwise go to step 1.7.1 | CMA |  |  |
| 1.7.1 |  | If the Meter ID is not associated with the SPID send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.8 |  | If the Meter Read is unpopulated go to 1.8.1, otherwise go to 1.9 | CMA |  |  |
| 1.8.1 |  | If the Meter Read is unpopulated send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |
| 1.9 |  | Is the Meter Read date prior to previous Meter Read or after the submission date, if not go to 1.9.1, otherwise go to 2. | CMA |  |  |
| 1.9.1 |  | If the Meter Read date is in the future send Error Notification. Go to Validation Failure Reporting. | CMA | LP/SW | Error Transaction T009.0, T009.1 |

## Volume Validation

Once the CMA has calculated the Actual Daily Volume supplied to a meter in relation to a Supply Point in accordance with CSD 0204 (Volume Processing and Estimating), it will validate the Meter Read submitted to it in respect of that meter. The CMA will not carry out such validation in respect of Type I, Type O and Type Y Meter Reads, because there will no relevant Actual Daily Volume associated to these.

### Threshold Validation

The CMA will check the value of the Actual Daily Volume calculated for a meter relating to a Supply Point using the formulae below. The read submission will either be accepted with an OK response or rejected with an error code as per the following table.

Where:

DVA is the Actual Daily Volume in m3 and

DVE is the latest Estimated Daily Volume in m3

| DVE Value | DVA Value | Acceptance (OK) or Error Return Code as per D4004 |
| --- | --- | --- |
| DVE <=0 | DVA = 0; SPID Vacant = True | OK |
|  | DVA = 0; SPID Vacant = False | BZ |
|  | -3 < DVA <0 | BN |
|  | DVA <= -3 | BV |
|  | 0 < DVA | BH |
| 0 < DVE | DVA = 0; SPID Vacant = True | OK |
|  | DVA = 0; SPID Vacant = False | BZ |
|  | -3 < DVA < 0 | BN |
|  | DVA <= -3 | BV |
|  | DVA < 0.2 * DVE | BL |
|  | 2 * DVE < DVA | BH |
|  | 0.2 * DVE <= DVA <= 2 * DVE | OK |

Section 2.8 of CSD0202 Meter Read Submission Process describes the use of Re-reads

### Capacity Limit Validation

The CMA will check the Actual Daily Volume calculated for a meter related to a Supply Point, by comparing its value to the value of the maximum Volume that the CMA considers could have been supplied to the meter related to the Supply Point. The CMA will derive the value of that maximum Volume from the physical meter size, as notified by Scottish Water for each Supply Point. The CMA will consider the value of the Actual Daily Volume to be validated if it is less than the value of the maximum Volume that could have been supplied to that meter, divided by the number of days in the relevant Year, as shown by the following formula:

If DVA	< (MACi / the number of days in the year)

Where:

DVA is the value of the Actual Daily Volume that the CMA calculated for the meter; and

MACi is the value of the maximum Volume that could have been supplied to the meter (as derived from the relevant physical meter size).

Once it has validated a Meter Read, the CMA will make the data from that Meter Read available to the relevant Licensed Provider in accordance with CSD0202 (Meter Read Submission Process).

### Process Diagrams

### Interface and Timetable Requirements

| Step Ref: | When | Action/Decision | From | To | Information/Transaction |
| --- | --- | --- | --- | --- | --- |
| 2.1 |  | Is the Meter Re-Read Flag = ‘Y’, if so go to 2.4. | CMA |  | Meter Re-Read Flag |
| 2.2 |  | Select the latest Estimate Daily Volume for this Meter ID | CMA |  | Estimate Daily Volume, Meter ID |
| 2.3 |  | Does the Actual Daily Volume fail the validation steps described in section 2.2.1? If so go to 2.3.1, if not go to 2.4 | CMA |  | SPID, Meter ID, SPID Vacant Flag, Actual Daily Volume, Estimated Daily Volume |
| 2.3.1 |  | If the Actual Daily Volume fails the threshold validation described in section 2.2.1, send appropriate Error Message | CMA |  | Error Transaction T009.0, T009.1 |
| 2.4 |  | Select the Actual Meter Size from the Registration Details for this Meter ID | CMA |  | SPID, Meter ID, Actual Meter Size |
| 2.5 |  | Using the Actual Meter Size and the Industry Level Estimate Table (Part of Standing Data), select the Annual Volume | CMA |  | Actual Meter Size, Industry Level Estimate Table, Annual Volume |
| 2.6 |  | If the Actual Daily Volume * Number of days in the year (to annualise) is more than the Annual Volume go to 2.6.1. Otherwise End | CMA |  | Actual Daily Volume, Annual Volume |
| 2.6.1 |  | If the Annualised Actual Daily Volume is more than the Annual Volume send Error Notification, Validation Failure Reporting | CMA |  | Error Transaction T009.0, T009.1 |

## Validation Failure - Error Transactions

In the event that a Meter Read fails validation, the CMA will notify the party who submitted the Meter Read, using Data Transaction T009.0 or T009.1 (Error Notification).

Meter Reads that fail threshold validation will be recorded in the Meter Read history, but will not be used in any subsequent volumetric charge calculations.

The Data Transaction for each failed Meter Read Submission will contain the Data Items set out against the relevant Data Transaction in the Data Transaction Catalogue.

The Error Codes are fully defined in the Data Transaction Catalogue.

On receipt of a T009.0 or T009.1 the Licensed Provider or Scottish Water will need to investigate the error and either resubmit the Meter Read as a Re-Read (where the Error Code is "BH", “BL”, “BZ”, “BN” or “BV”), where the Trading Party believes the Meter Read to be correct, or update the information required to ensure the failure will not reoccur and a new Meter Read can be submitted.

# Appendix 1 – Validation Failure Types

A full description of each validation failure type is provided below. The DTC contains all the Error Codes and Data Items (summarised in section 1.1).

Unrecognised Organisation ID – error occurring when the Licensed Provider's Organisation ID is not recognised as being within the market. This could occur as a result of either:

- an error occurring during the production of the Data Transaction; or

- because the party is not registered with the CMA when the Meter Read is received.

Unrecognised SPID – error occurring when the CMA does not have a record of the Supply Point in its system. This anomaly could occur as a result of either:

- an error occurring during the production of the Data Transaction; or

- because the SPID is not registered with the CMA when the meter  read is received.

Unrecognised Meter ID – error occurring when the CMA does not have a record of the meter in its system. This anomaly could occur as a result of either:

- an error occurring during the production of the Data Transaction; or

- because the meter has not been registered with the CMA when the Meter Read is received.

SPID not Registered to this Licensed Provider – error occurring when a mismatch exists between the Licensed Provider and SPID held CMA registration data within the Meter Read Submission. Here the SPID is not registered for that Licensed Provider for the Meter Read date being submitted. The error may occur because:

- registration data has not been updated upon a Transfer Registration;

- the SPID has incorrectly populated; or

- the SPID has transferred to a new Licensed Provider.

Meter ID not associated with this SPID – error occurring when a mismatch exists between the Meter ID and SPID within the Meter Read Submission. The meter ID is not associated with that SPID at the Meter Read date being submitted. The error may occur because:

- registration data has not been updated upon a meter change;

- the SPID has incorrectly populated; or

- the Meter ID has been incorrectly populated.

Missing Meter Read value – error occurring when the Meter Read Submission does not contain a Meter Read value for the Volume. This Data Item should be populated and the submission remade.

Meter Read Date invalid – error occurring when the Meter Read Date is in the future or before the previous Meter Read Date. The Licensed Provider should check the Meter Read Date and resubmit the Meter Read Submission with the correct Meter Read Date, if necessary.

Outside Volume threshold – error occurs when the standard threshold used to sense check Volume have been broken. This may result from:

- A large change in the Volume pattern at the site and be correct;

- A meter fault having occurred requiring resolution; or

- Incorrect population of the Meter Read field resulting in erroneous Volume.

Where the Meter Read has been certified as correct, the Meter Read can be resubmitted as a Re-Read.

Outside Volume capacity limit – error occurs when the capacity threshold has been broken. This may result from either:

- A meter fault having occurred requiring resolution; or

- Incorrect population of the Meter Read field resulting in erroneous Volume.

Duplicate Meter Read mismatch – error occurs when a Meter Read is submitted by a Licensed Provider with the same Meter Read Date, but different Meter Read Data Item values, as a Meter Read Submission previously submitted by another Licensed Provider. The mismatch should be investigated and resolved.

# Appendix 2 – Process Diagram Symbols

As used in this document

| Symbol | Name | Details |
| --- | --- | --- |
|  | Step | An action step. It appears in the “swimlane” of the party responsible for performing the action. |
|  | Decision | A decisive question rather than an action. Followed by Yes or No, or occasionally WS (Water Service) or SS (Sewerage Service) the process splits depending on the answer to the question in the decision diamond. |
|  | To another process | A flow in, or input to, another documented process |
|  | From another process | A flow in, or output from another documented process. |
|  | End | Used after a decision diamond, generally to mean “do nothing” as it is the end of the process. |
|  | Advised | Used after a process step to show “passive” action on the part of a data flow receiver e.g. to represent “Advised” or “Invoiced” |
| 1.2.1 | Reference | Reference within each step or decision to the numbering in the tables |
| T005.2 | Transaction reference | Reference to the data transaction occurring as an output from the step it appears next to. |